## Sheet1
| Test |  |  | Test | Test |  | Units | W.E.B. | Level |  | Revision: | 2014-12-08 |  | Action to take if test fails
| Numbers |  |  | Type | Stage | Threshold level |  |  |  | Test Name
| 0 |  |  | BitT | 1 |  |  | E | Sample | Saturation |  |  |  | if Variable, call Auto_Gain, Repeat | COLLECT_RAW_ADC_SATURATED |  | W,E,B = Warning, Error, or Both
COLLECT_RAW_ADC_SATURATED | [10 empty] | Saturation determined automatically by process_adc, |  |  | if Fixed, report error/abort
[12 empty] | This test just checks the corresponding indicator bits |  |  |  |  | Test Type: High, Low, Equality, BitTest
| 1 |  |  | BitT | 1 |  |  | W | Sample | High Sample | if High for any sample |  |  | If Variable, call Auto_Gain, Repeat | SIGNAL_TOO_HIGH
[11 empty] | High Sample determined automatically by process_adc, |  |  | if Fixed, report warning |  |  | Test Values = Uninitial, Success, Warning, Error
SIGNAL_TOO_LOW | [11 empty] | This test just checks the corresponding indicator bits
| 2 |  |  | Eq0 | 1 |  |  | W | Sample | Sigma is zero |  |  |  | Continue | SIGMA_IS_ZERO
[11 empty] | want to detect it so we can see how often it ocurrs in normal conditions | [5 empty] | Stages/Levels of Time Scan
[16 empty] | 1 | Digitize, Collect and Process raw data
SIGMA_IS_ZERO | 3 |  |  | BitT | 2 |  |  | E | Scan | Low Scan | if Low for all samples in scan |  |  | if Variable, call Auto_Gain | SIGNAL_TOO_LOW | 2 | Global Scan, will find channel maxes
[11 empty] | if corresponding low bit set for all samples in scan |  |  | if Fixed, report error/abort |  | 3 | Compute Global_delay
BLOCK_SCAN_RANGE_TOO_BIG | [15 empty] | 4 | Compute Channel delays (offsets)
| 4 | , | 5 | H&L | 3 | 100 chips, 1 nS |  | B |  | Global delay set too near edge |  |  |  | Continue | BLOCK_DELAY_TOO_CLOSE_TO_HIGH_EDGE | 5 | Do fine scan over peak
BLOCK_DELAY_TOO_CLOSE_TO_HIGH_EDGE | [8 empty] | 1 per time scan |  |  | range: 0:1400 - 14nS, 0:800 - 4nS |  |  | BLOCK_DELAY_TOO_CLOSE_TO_LOW_EDGE | 6 | Perform fit
BLOCK_DELAY_TOO_CLOSE_TO_LOW_EDGE | [15 empty] | 7 | At End
| 6 | , | 7 | H&L | 4 | 50 chips, 500 pS |  | B | 1 per channel | Offsets too close to edge |  | will implement sloshing to shift global delay, and channel delays |  |  | OFFSET_TOO_CLOSE_TO_HIGH_EDGE
[13 empty] | away from edge |  | OFFSET_TOO_CLOSE_TO_LOW_EDGE
DIFF_OF_CROSS_SUM_TOO_BIG | 8 |  |  | H | 4 | W:40 chips, 400 pS |  | B | 1 per time scan | Offsets too far apart |  |  |  | Continue | CHIPS_TOO_FAR_APART |  | Measurements Levels
[6 empty] | W:200 chips, 2 nS | [10 empty] | Turn - Digitize, Collect and Process raw data
| 9 |  |  | H | 4 | W: ratio > 0.1 |  | B | 1 per channel | Outlier(s) observed, detect by computing: (Max ADC - Min ADC)/ ABS(Max ADC) |  |  |  |  | OUTLIER_DETECTED |  | Sample - Average of turn measurements
[6 empty] | E: ratio > 0.11 |  | Occasionally there is a very low value somewhere in the middle of the scan, which has been observed to sometimes alter fit | [8 empty] | Scan - scan over range of chip delay values
FIT_CONSTANT_TERM_TOO_HIGH/LOW | [13 empty] | Continue/Abort/or reScan? |  |  | Whole Time Scan
| 10 |  |  | H | 5 | W: ratio > 0.2 |  | B |  | Difference of Cross Sums/ ADC value at highest peak |  |  |  | Continue | DIFF_OF_CROSS_SUM_TOO_BIG
[6 empty] | E: ratio > 0.25 |  |  | 1 per time scan |  | (scaling the measurement by the highest peak)
OUTLIER_DETECTED | [5 empty] | ratio> #/1e4 |  |  |  | Timing Fit parameters ok |  |  |  | Continue
| 11 | , | 12 | H | 6 | W: 6.173, E: 6.944 |  | B | 1 per channel |  | 2nd Order Fit Parameter/max amplitude |  |  | 1/(1800) | FIT_CONCAVITY_TERM_TOO_HIGH/LOW |  | Type of delays
|  |  |  | L |  | W: 4.630, E: 5.051
| 13 | , | 14 | H | 6 | W: 138.89, E: 156.25 |  | B | 1 per channel |  | First Order Fit Parameter/max amplitude |  |  | 1/(80) | FIT_LINEAR_TERM_TOO_HIGH/LOW |  | Ch Delay 0
|  |  |  | L |  | W: 104.17, E: 113.64 | [10 empty] | Ch Delay 1
| 15 |  |  | L | 6 | W: 8000, E: 9000 |  | B | 1 per channel |  | Constant Fit Parameter/max amplitude |  |  |  | FIT_CONSTANT_TERM_TOO_HIGH/LOW |  | A bTMD - Global_Delay A - Ch Delay 2
[11 empty] | Constant won't be higher than max amp, but might be lower | [5 empty] | Ch Delay 3
| 16 | , | 17 | H&L | 6 | E, W: 4 chips, 40 pS |  | B | 1 per channel | Fit value too near edge |  | (the peak position computed from the fit) |  |  | FITVALUE_TOO_CLOSE_TO_HIGH_EDGE |  | cTMD
FIT_CONCAVITY_TERM_TOO_HIGH/LOW | [10 empty] | find scan is 21 points, don't want peak to be near 0 or 20 |  |  | Continue | FITVALUE_TOO_CLOSE_TO_LOW_EDGE |  | Ch Delay 0
FIT_LINEAR_TERM_TOO_HIGH/LOW | 18 |  |  | H | 7 | W: 1000, E: 2000 ADC units |  |  | 1 per channel | RMS of a sample before time scan too big |  |  |  |  | BEFORE_ADJUSTTIMING_ADC_RMS_TOO_BIG |  | B bTMD - Global_Delay B - Ch Delay 1
FITVALUE_TOO_CLOSE_TO_HIGH_EDGE | [7 empty] | B | [5 empty] | Continue |  |  | Ch Delay 2
FITVALUE_TOO_CLOSE_TO_LOW_EDGE | 19 |  |  | H | 7 | W: 200, E: 400 ADC Units |  |  | 1 per channel | RMS of a sample after time scan too big |  |  |  |  | AFTER_ADJUSTTIMING_ADC_RMS_TOO_BIG |  | Ch Delay 3
[8 empty] | B | [5 empty] | Continue
| 20 |  |  | H | 7 | W: 40 chips, 400 pS |  | B | 1 per channel | Channel delays changed too much, from last Time Scan |  |  |  |  | CHIP_CHANGED_TOO_MUCH
OFFSETS_TOO_FAR_APART | [5 empty] | E: 250 chips, 2.5 nS | [7 empty] | Continue
| 21 |  |  | H | 7 | W: 4 chips, 4 pS |  | B | 1 per channel, except Ch0 |  | Channel to Channel delays changed too much from last Time Scan |  |  |  | CHIP_TO_CHIP_VALUE_CHANGED_TOO_MUCH
[6 empty] | E: 8 chips, 80 pS | [7 empty] | Continue
| 22 |  |  | H | 7 | W: 560 turns |  | B | 1 per time scan | Took too long to run Peak Scan |  |  |  | Continue | PEAK_FIT_SCAN_TOO_SLOW
[6 empty] | E: 600 turns | [5 empty] | measures the total turns elasped while running the peak scan
| 23 |  |  | H | 7 | W: 3 tries |  | B | 1 per time scan | Too many time scan tries |  |  |  | Continue | N/A
[6 empty] | E: 4 tries | [5 empty] | measures number of times time scan function runs
| 24 |  |  | H | 3 | W: 50 chips, 0.5 nS |  | B | 1 per time scan | Absolute Value of Block Delay slosh |  | measures how much block and channel delays were "sloshed"
[6 empty] | E: 500 chips, 5 nS | [5 empty] | to get them all closer to the middle of the range
| 25 |  |  | BitT | 7 |  |  | W | 1 per time scan | Alu Error
[12 empty] | indicates the ALU signaled an error |  | Continue
| Future | [7 empty] | Multiple BPM Intensity Test |  | to determine, if failed difference of cross sums test, which channel is fishy