ILC Damping Rings Component/Subsystem Specification

Part I – Classification Information

| Component Description: | Arcs and Straights Vacuum System Roughing Valves |
| --- | --- |
| Component Location (beamline): | EDR | Lattice Version: | OCS6, 2006-06-20 |
| Document Number: | EDR-VAC-vlv-002 | Date: | 2006-07-03 |
| Prepared by: | Ron Reid | email: | r.j.reid@dl.ac.uk |
| Technical/Global System: | Vacuum |  |  |
| Technical/Global System Contact: | John Noonan | email: | noonan@aps.anl.gov |
| DR Area System Contact: | Andy Wolski | email: | a.wolski@dl.ac.uk |

Part II – Main Parameters

| Parameter | Value | Reference |
| --- | --- | --- |
| Roughing valve type | Right angle, all metal |  |
| Quantity in arcs | 24 |  |
| Quantity in long straights | 8 |  |
| Quantity in short straights | 4 | [1] |
| Unit Cost per Roughing Valve | Public version: no cost shown |  |

Part III – Other Parameters, Information, and Drawings

ILC Damping Rings Component Specification

| Document Number: | EDR-VAC-vlv-002 | Date: | 2006-07-03 |
| --- | --- | --- | --- |

Part IV – References

[1]	Wiggler sections have additional roughing valves.